## Slide 1: Exterior in progress

## Slide 9: Before shots of warped and leaking windows – mostly from balcony

## Slide 12
Old plexiglass turned brown – reduced light, looked dirty, retained moisture which ruined frames and deteriorated cement

## Slide 13
Stained glass windows with plexiglass removed for restoration

## Slide 14: Window removed and taken to studios for work

## Slide 16
Craftsman at Daprato Rigali Studios working on restoring a window brought to the shop

## Slide 17
Double-hung window example – these were in bad shape

## Slide 18
Let There Be Light…But No Leaks
We Like Our Glass Stained, But Also Sturdy And Strong
In general, frames in good shape… glass still colorful and vibrant
Pending Capital Project: Refurbish and repair all
stained glass windows - $64 K
Longer Term:
Gradually replace and / or refurbish all windows
Reserve Study Estimates:
$202 K over 10 years
Sustainability:
Energy-efficiency, preservation
Admin. Committee Leaders: Lombardo
Stained glass restoration to be performed by craftsman with experience back to 1860
Stained glass loose within leading, requiring new cement to seal
Rebuilding warped and buckled panels will require removal to repair
Pilgrim Hall windows deteriorating and leaking air into the building
Dark, discolored plexiglass removed from 50% of stained glass windows. Time to complete the job.